[image: image1.jpg]\. == | upw,ell




                           JINAN UPWELL TECH MACHINERY CO.,LTD

               Add:Suncun industry Park,, Licheng Dist., Jinan, China. 

                    Email:info@upwelltest.com  Tel:008615562578858

  Digital type Free Fall Darts Impact Tester
[image: image2.png]upwell




Product Summary:
Fall darts impact tester apply to plastic film or chip which thickness less than 1mm impact by fall darts in a given great freedom to fall, test the impact quality and energy were when 50% plastic film or chip was damaged.
 
 
 Meet Standard:
GB 9639,ASTM D1709,JIS K7124
 
Product Feature:
· National standards and international standards are compatible
· Mechanical modelling novel, operation design thoughtful
· Test method A and B, dual mode design
· Unique lighting observation lamp,testing convenient and quick
· The test data micro process
· The test process intelligent, improve working efficiency
· Sample pneumatic clamping, release, reduce the test error and test time
· The test process without the artificial drawing mark, data parameter system liquid crystal display
· The test data automatic identification system, calculation, without human intervention
· Test to be automatic end, the results showed many units, the play output by computer.
 
Technical Parameters:
	Measuring range
	A:50~2000g     B:300~2000g

	Measuring accuracy
	0.1g (0.1J)

	Test condition
	23°C,50%RH (standard)

	Sample clamping
	pneumatic

	Sample size
	>150mm×150mm

	Power
	AC220V50Hz

	Net weight
	70kg

	Contour dimension
	A method:500(L)mm×450(B)mm×1320(H)mm

	Standard configulation
	B method: 500(L)mm×450(B)mm×2160(H)mm

	
	A method configuration

	Option
	B method configuration

	
	(Note: air users should bring by users)


 
 
UPWELL TEST- Your reliable testing solution

